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Section 1:  Declaration of Purpose


In order to conserve the available water supply; protect the integrity of water supply facilities, with particular regard to domestic water use, sanitation, and fire protection; preserve public health, welfare, and safety; and minimize the adverse impacts of water supply shortages or other emergency conditions, the City of Munday adopts the following Drought Contingency Plan.Section 2:  Public Involvement


The City of Munday provided public and wholesale water customers with an opportunity to participate in the preparation of the plan by posting notices of scheduled meetings of the Board of Directors, which are held on the second Tuesday of each month.Section 3:  Wholesale water Customer Education 


The City of Munday will periodically provide wholesale water customers with information regarding the Drought Contingency Plan, including the conditions under which each stage of the plan will be initiated or terminated and the drought response measures to be implemented during each stage. This information will be provided by furnishing copies of the plan and/or by periodically including plan information with water sales invoices.Section 4:  Coordination with Regional Water Planning Groups 

	
	


The water service area of the City of Munday is located within the “Region G Water Planning Area” and the City of Munday has provided a copy of “The Plan” to the Region G Water Planning Group. Section 5:  Authorization 

The City Manager of Munday and/or the Mayor of Munday are hereby authorized and directed to implement the applicable provisions of this plan upon determining that such implementation is necessary to protect public health, safety, and welfare. The City Manager of Munday shall have the authority to initiate or terminate drought or other water supply emergency response measures as described in this plan.


Section 6: Application 

The provisions of the plan shall apply to all customers utilizing water provided by the City of Munday.  The terms A Person and A Customer as used in the plan include within the City Limits of Munday and a few locations just outside of city limits.  This also includes, individuals, corporations, partnerships, associations and all other legal entities.Section 7:  Authorization 


The City Manager of Munday and/or the Mayor of Munday shall monitor water supply and demand conditions on a weekly basis and shall determine when conditions warrant the initiation or termination of each stage of the plan. Customer notification of the initiation or termination of drought response stages will be made by social media, mail, and the news media. The triggering criteria described below are based on a statistical analysis of the vulnerability of the water source under drought-of-record conditions.
DROUGHT STAGES
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STAGE 1 – Mild Water Shortage Conditions


Requirements for Initiation:
The City of Munday will recognize that mild water shortage condition exists when the volume of water in storage in Miller Creek Reservoir is equal to or less than 9,000 acre-feet.
Requirements for Termination:
Stage One of the plan may be rescinded when all conditions listed as triggering events have ceased to exist for a period of one to thirty (1–30) consecutive days, depending on the extent of the increase in reservoir storage volume. The City of Munday will notify its customers and the news media of the termination of Stage One in the same manner as notification of the initiation of Stage One under this plan.STAGE 2 – Moderate Water Shortage Conditions


Requirements for Initiation
The City of Munday will recognize that a moderate water shortage condition exists when the amount of water in storage in the Miller Creek Reservoir is equal to or less than 7,500 acre-feet.

Requirements for Termination
Stage Two of the plan may be rescinded when all conditions that triggered Stage Two have ceased to exist for a period of 1 - 30 consecutive days, depending on the extent of the increase in reservoir storage volume.
Upon termination of Stage Two, Stage One becomes operative if the storage volume exceeds 7,500 acre-feet but remains less than 9,000 acre-feet. The City of Munday will notify its customers and the media of the termination of Stage Two in the same manner used for the initiation of Stage Two of the plan.



STAGE 3 – Severe Water Shortage Conditions

Requirements for Initiation
The City of Munday will recognize that severe water shortage conditions exist when the amount of water in storage in the Miller Creek Reservoir is equal to or less than 6,000 acre-feet.
Requirements for Termination
Stage Three of the plan may be rescinded when all conditions listed as triggering events have ceased to exist for a period of 1 to 30 consecutive days, depending on the extent of the increase in reservoir storage volume.
Upon termination of Stage Three, Stage Two becomes operative if the storage volume exceeds 6,000 acre-feet but remains less than 7,500 acre-feet. Stage One becomes operative if the storage volume exceeds 7,500 acre-feet but remains less than 9,000 acre-feet.
The City of Munday will notify its customers and the media of the termination of Stage Three in the same manner as the notification of the initiation of Stage Three of the plan on its website and social media.
STAGE 4 – Emergency Water Shortage Conditions

Requirements for Initiation
The City of Munday will recognize that an emergency water shortage condition exists when any of the following conditions occur:
· A major water line break, pump failure, or other system failure that causes a loss of capacity to provide water service.
· Natural or man-made contamination of the water supply source.

Requirements for Termination
Stage Four of the plan may be rescinded when all conditions listed as triggering events have ceased to exist for a period of five (5) consecutive days. The City of Munday will notify its customers on its website and social media of the termination of Stage Four.

Section 8:  Drought Response Stages


	





Stage 1
	1. Goal: Achieve a voluntary 10 percent reduction in total water use.
2. Supply Management Measures
3. The City Manager, or a designee, shall monitor daily raw water diversions in order to project, on a day-to-day basis, the effectiveness of voluntary reductions on total water use.
4. Demand Management Measures:
a) The City Manager, or a designee, will contact water customers to discuss water supply and/or demand conditions and will request that water customers initiate voluntary measures to reduce water use (implementation of Stage One of the customer’s drought contingency plan).

b) The City Manager, or his or her designee, will provide periodic reports to the news media with information regarding current water supply and/or demand conditions, projected water supply and demand conditions if drought conditions persist, and consumer informational water conservation measures and practices.


	






Stage 2
	(a) Goal: Achieve a 15 percent reduction in total water use.

(b) Supply Management Measures: The City Manager, or a designee, shall monitor daily water use diversions to project, on a day-to-day basis, the achievement of the desired 15 percent reduction in total water use.

(c) Demand Management Measures:   

a. The City Manager, or a designee, will initiate periodic contact with water customers to discuss water supply and/or demand conditions and the potential for pro rata curtailment of water diversions and/or deliveries.

b. The City Manager, or a designee, will request that water customers initiate mandatory measures to reduce non-essential water use (implementation of Stage Two of the customer’s drought contingency plan).

c. The City Manager, or a designee, will initiate preparations for the implementation of pro rata curtailment of water diversions and/or deliveries by preparing a monthly water-use allocation baseline for each wholesale customer in accordance with the procedures specified in Section 9 of the plan.

d. The City Manager, or a designee, will provide periodic reports through news media, social media, and the City’s website with information regarding current water supply and/or demand conditions, projected water supply and demand conditions if drought conditions persist, and consumer information on water conservation measures and practices.                                                                                                                                                                                                        

	







Stage 3
	Goal
Achieve a 25 percent reduction in total water use through pro rata allocations.

Supply Management Measures
· The City Manager or General Manager, or a designee, will contact wholesale water customers to discuss water supply and/or demand conditions and will require water customers to initiate mandatory measures to reduce non-essential water use (implementation of Stage Three of the customer’s drought contingency plan).
· The City Manager or General Manager, or his or her designee, will initiate pro rata curtailment of water diversions and/or deliveries to each customer in accordance with the procedures specified in Section 9 of the plan.
· The City of Munday City Manager, or a designee, will provide periodic reports through news media, social media, and the City website with information regarding current water supply and/or demand conditions, projected water supply and demand conditions if drought conditions persist, and consumer information on water conservation measures and practices.

Retail Customers
The following restrictive measures apply to all retail customers:

	0-3,000 gallons
	$30

	3,000-5,000 gallons
	$4 per 1000 gallons

	5,000 gallons+
	$15 per 1,000 gallons

	To be used for domestic purposes only, no livestock water.





	



Stage 4
	Emergency Water Shortage Conditions

Whenever emergency water shortage conditions exist, as defined in Section 7 of the plan, the City Manager shall:

· Assess the severity of the situation and identify the actions needed, as well as the time required, to resolve the problem.
· Inform the Utility Director or responsible official of each wholesale water customer by telephone or in person and recommend appropriate actions to alleviate the problem (including public notification to reduce water use until water service is restored).
· If appropriate, notify city, county, and/or state emergency response officials and request assistance.
· Undertake all necessary actions, including repairs and cleanup, as required.
· Prepare a post-event assessment report detailing the incident and providing a critique of emergency response procedures and actions.



Section 9:  Pro Rata Water Allocation


In the event that the triggering criteria specified in Section 7 of the plan for Stage Three – Severe Water Shortage Conditions have been met, the City Manager of Munday is hereby authorized to initiate allocation of water supplies on a pro rata basis in accordance with Texas Water Code, Section 11.039, and pursuant to the following water allocation policies and procedures:
a. A customer’s monthly water allocation shall be established as a percentage of the customer’s water usage baseline. The percentage shall be set by resolution of the City Council based on the City Manager’s assessment of the severity of the water shortage conditions and the need to curtail water diversions and/or deliveries. This percentage may be adjusted periodically by resolution of the City Council as conditions warrant.
b. Once pro rata allocation is in effect, water diversions to, or deliveries for, each customer shall be limited to the allocation established for each month.
c. A monthly water usage allocation shall be established by the City Manager for each wholesale water customer. The wholesale customer’s water usage baseline shall be computed using the average monthly water usage for the applicable month over the historical period shown in the example below.
d. If a customer’s water billing history is less than five (5) years, the monthly average for the period for which records exist shall be used. For any month for which no billing history exists, the average of the available records shall be applied.
1. Upon request of a customer, or at the initiative of the City Manager, a customer’s allocation may be reduced or increased if:  (1) the designated historical period does not accurately reflect the customer’s normal water usage; or (2) other objective evidence demonstrates that the designated allocation is inaccurate under current conditions. A customer may appeal an allocation established under this section to the City Council of the City of Munday.




During any period when pro rata allocation of water supplies is in effect, customers shall pay the following surcharges on excess water diversions and/or deliveries:Section 10:  Enforcement

· 1.5 times the normal water charge per 1,000 gallons for diversions and/or deliveries in excess of the monthly allocation up to 5 percent above the monthly allocation.
· 2.0 times the normal water charge per 1,000 gallons for diversions and/or deliveries in excess of the monthly allocation from greater than 5 percent up to 10 percent above the monthly allocation.
· 2.5 times the normal water charge per 1,000 gallons for diversions and/or deliveries in excess of the monthly allocation from greater than 10 percent up to 15 percent above the monthly allocation.
· 3.0 times the normal water charge per 1,000 gallons for diversions and/or deliveries more than 15 percent above the monthly allocation.
· Monthly water allocations shall be cumulative.Section 10:  Variances


The City Manager, or a designated representative, may, in writing, grant a temporary variance to the pro rata water allocation policies provided by this plan if it is determined that failure to grant such a variance would cause an emergency condition adversely affecting public health, welfare, or safety, and if one or more of the following conditions are met:
1. Compliance with this plan cannot be technically accomplished during the duration of the water supply shortage or other conditions for which the plan is in effect.
2. Alternative methods can be implemented to achieve the same level of reduction in water usage.
Petition for Variance
· Any person requesting an exemption from the provisions of this plan shall file a petition for variance with the City Manager within five (5) days after pro-rata allocation has been invoked.


· All petitions for variance shall be reviewed by the City Council and shall include the following information:
1. Name and address of the petitioner.
2. A detailed statement, with supporting data and information, describing how the pro rata allocation adversely affects the petitioner or what harm would occur to the petitioner or others if the petitioner complies with this plan.
3. A description of the relief requested.
4. The period-of-time for which the variance is requested.
5. Alternative measures the petitioner is taking or proposes to take to meet the intent of this plan and ensure compliance.
6. Any other pertinent information.
Conditions of Granted Variances
· Variances granted by the City Council shall be subject to the following conditions, unless waived or modified by the City Council or its designated representative:
1. The variance shall include a timetable for compliance.
2. Variances shall expire when the plan is no longer in effect, unless the petitioner has failed to meet specific requirements outlined in the variance.
3. No variance shall be retroactive or otherwise justify any violation of this plan occurring prior to the issuance of the variance.


Section 11:  Severability

It is hereby declared to be the intention of the City Council of Munday that the sections, paragraphs, sentences, clauses, and phrases of this plan are severable. If any phrase, clause, sentence, paragraph, or section of this plan is declared unconstitutional or otherwise invalid by a court of competent jurisdiction, such determination shall not affect the validity of the remaining portions of this plan since the same would not have  been enacted by the City Council of Munday without the incorporation into this Plan of any such unconstitutional phrase, clause, sentence, paragraph, or section.  
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